ATTACHMENT 1.

"Standard" and "Extended" X-10 Code Formats

September 22, 1993

Rev. 20/11/94 , 12/07/96 , 18/12/96 , 02/04/97

Bit Encoding

Data is accepted bit by bit as the presence or absence of 120Khz carrier occurring after the positive or negative powerline zero crossing. The acceptance window begins approximately 250 µsecs. and ends approximately 900 µsecs. after a zero crossing. In this window 48 or more cycle of carrier are accepted as a "1" bit and fewer than 48 as a "0" bit. Except for the Startcode, each bit of data is sent in its true and complement form (Data Data bar).

Standard Message Format

Start of Message								End

*----*----*----*----*----*----*----*----*----*----*----*----*--*

* 1  * 2  * 3  * 4  * 5  * 6  * 7  * 8  * 9  * 10 * 11 *    *

*----*----*----*----*----*----*----*----*----*----*----*----*--*

1 1  1 0 H8H8 H4H4 H2H2 H1H1 D8D8 D4D4 D2D2 D1D1 F1F1  0 0 00

*---------*-------------------*-------------------*----*-------*

* START   *   HOUSECODE       *ADDRESS/FUNCTION   *FUNC*END OF

* CODE    *                   *                   *TION*MESSAGE*

(where H8H8 reads as H8 H8bar, etc., and *  * denotes a powerline cycle.)

HOUSECODE SETTING				H8	H4	H2	H1

A						0	1	1	0

B						1	1	1	0

C						0	0	1	0

D						1	0	1	0

E						0	0	0	1

F						1	0	0	1

G						0	1	0	1

H						1	1	0	1

I						0	1	1	1

J						1	1	1	1

K						0	0	1	1

L						1	0	1	1

M						0	0	0	0

N						1	0	0	0

O						0	1	0	0

P						1	1	0	0

ADDRESS/FUNCTION

If D16 is a "1" the code is a function (command). Otherwise D1-D8 is an 'address.' Once addressed, a module responds to any command code. It becomes 'unaddressed' by the first 'address' message after a command, or by 'All Units Off.'

D8	D4	D2	D1	D16

1				0	1	1	0	0

2				1	1	1	0	0

3				0	0	1	0	0

4				1	0	1	0	0

5				0	0	0	1	0

6				1	0	0	1	0

7				0	1	0	1	0

8				1	1	0	1	0

9				0	1	1	1	0

10				1	1	1	1	0

11				0	0	1	1	0

12				1	0	1	1	0

13				0	0	0	0	0

14				1	0	0	0	0

15				0	1	0	0	0

16				1	1	0	0	0

ON				0	0	1	0	1 	(shutters open)

OFF				0	0	1	1	1 	(shutters close)

DIM				0	1	0	0	1 	(shutters 50%)

BRIGHT				0	1	0	1	1 	(shutters 50%)

ALL LIGHTS ON		0	0	0	1	1

ALL UNITS OFF		0	0	0	0	1

ALL LIGHTS OFF	  	0 	1	1	0	1

EXTENDED CODE 1		0	1	1	1 	1 	FOR DATA/CONTROL

HAIL REQUEST			1    	0    	0    	0    	1

HAIL ACK.			1    	0   	0    	1    	1

EXTENDED CODE 3     	1    	0    	1   	0    	1 	FOR SECURITY MESSAGES

UNUSED				1    	0    	1    	1    	1

EXTENDED CODE 2		1    	1    	0    	0    	1 	FOR METER READ & DSM

STATUS "ON"			1    	1    	0    	1    	1

STATUS "OFF"			1    	1    	1    	0    	1

STATUS REQUEST		1    	1    	1    	1    	1

The full message is sent twice without a gap. That is, the second Startcode begins on the next powerline cycle after the Function bit.

X-10 modules do not respond to the Extended code message. This code enables further bytes to be added to the message  without them being "seen" by Standard X-10 modules. Details of the Extended code bytes is given below. Any message containing Extended bytes must contain the Extended code command in the first part of the message.

Extended Message Format for EXTENDED MESSAGE 1 (01111)

Cumulative Powerline Cycles

2	    6       11        15        23			  31

1110	HC/HC	EXT./EXT. 	DC/DC	DATA/DATA	COMMAND/COMMAND

Start	House	Extended	Unit	Data		Command

Code	Code	Code		Code

4bits	4bits	5bits	 	4bits	8bits	  	8bits

(where HC/HC reads as HC HCbar, etc.)

The coding of the HC and DC bytes is as shown in the Standard Code Tables.

The coding of the Data and Command bytes is shown below.

TYPE = 0000 Shutters and Sunshades

DATA			COMMAND

TYPE   FUNCT.

128 64 32 16  8  4  2  1	 8 4 2 1 8 4 2 1

x  x  x  D  D  D  D  D  0 0 0 0 0 0 0 1 	Open Shutter to                                                 	amount in Data                                                  	Field. Enable Sun 			Protection.

(0 = closed, 25 = fully open)

x  x  x  D  D  D  D  D  0 0 0 0 0 0 1 0 	Limit the degree of                                             	opening to the value                                            	in the Data Field.

(Sun Protection)

x  x  x  D  D  D  D  D  0 0 0 0 0 0 1 1 	Open Shutter to the 			amount in the Data 			Field. Disable Sun 			Protection.

x  x  x  x  x  x  x  x  0 0 0 0 0 1 0 0 	Open all shutters on                                            	this Housecode.                                                 	Disregard the Unitcode.

Disable Sun Protection.

DATA             TYPE    FUNC

x  x  x  x  x  x  x  x  0 0 0 0 0 1 0 1 	Open all shutters.                                              	Ignore Housecode and                                            	Unitcode fields.

Disable Sun Protection.

L4 L2 L1  D  D  D  D  D  0 0 0 0 0 1 1 1 	Include this unit in 			the Lifestyle mode L. 		D is the degree of 			opening.

L4 L2 L1  x  x  x  x  x  0 0 0 0 1 0 0 0 	Begin Lifestyle mode 			L. Disregard HC/DC 			(only responds if 			previously included)

L4 L2 L1  x  x  x  x  x  0 0 0 0 1 0 0 1 	Exclude (erase) this 			unit from Lifestyle L

x  x  x  x  x  x  x  x  0 0 0 0 1 0 1 0 	Exclude (erase) from 			all Lifestyle modes.  		Disregard HC/DC fields

x  x  x  x  x  x  x  x  0 0 0 0 1 0 1 1 	Close all shutters

on this HC. Disregard 		the Unitcode. Enable 			Sun Protection

x  x  x  x  x  x  x  x  0 0 0 0 1 1 0 0 	Close all shutters. 			Disregard HC/DC fields

Enable Sun Protection.

x  x  x  x  x  x  x  x  0 0 0 0 1 1 1 0 	Self Test for 				Housecode/Unit Code 			match on codewheels. 			Drive UP for 1 sec. if 		match.

x  x  x  x  x  x  x  x  0 0 0 0 1 1 1 1 	Self Test the Earom 			addresses. Leave Earom 		Blank. Drive UP for 			1sec., then DN for 1sec.

TYPE = 0001 Sensors

DATA		   TYPE    FUNC

x  x  x  x  x  x  x  x  0 0 0 1 0 0 0 1 	Request Average 		Light Data from the 			Unit addressed in the 		HC/DC fields.

x  x  x  x  x  x  x  x  0 0 0 1 0 0 1 0 	Request Instant 			Temperature from 			the addressed unit.

x  x  x  x  x  x  x  x  0 0 0 1 0 0 1 1 	Request Status from 			addressed unit.

x  x  x  x  x  x  x  x  0 0 0 1 0 1 0 0 	Request Instant Light 		Data from addressed 			unit.

x  x  x  x  x  x  x  x  0 0 0 1 0 1 0 1 	Request Average Temp. 		Data from the addressed 		unit. (16min.average).

I2 I1 P  P  P  P  P  P  0 0 0 1 1 0 1 1 	Ambient Light data

from the sensor in the 		HC/DC fields.

T  T  T  T  T  T  T  T  0 0 0 1 1 1 0 0 	Temperature data from 		the sensor in the HC/DC 		fields.

S  S  S  S  S  S  S  S  0 0 0 1 1 1 0 1 	Status data (bit 			mapped) from the unit 		in the HC/DC field.

TYPE = 3  Control Modules (Dimmers and Appliances)

DATA			TYPE FUNC

G1 G0 0  0  x  x  x  x    3  0  	INCLUDE IN GROUP G1G0 AT THE 			CURRENT OUTPUT SETTING (on 			this HC,DC). The GROUP ADDRESS 		IS ABSOLUTE (no GRP REFERENCE).

G1 G0 1  1  S3 S2 S1 S0   3  0   	INCLUDE IN GROUP G1G0 AT THE 			CURRENT OUTPUT SETTING (on 			this HC, DC). The GROUP ADDRESS 		is RELATIVE to the GRP 				REFERENCE S3S2S1S0.

x  x  B16B8 B4 B2 B1 B0   3  1 	PRESET RECEIVER O/P on this HC DC For 	all units: 'B' FIELD = NZ means 'ON' 	Zero means 'OFF.' For Dimmers: 'B' FIELD 	= H'3F' is 'ON' at FULL 	BRIGHT 	IMMEDIATE. ( 63 values)'B'FIELD = 	H'01'to H'3E' is ON at PREVIOUS SETTING 	IMMEDIATE brightening gradually to the 	new value of 'B.' If previously OFF, the 	unit comes ON at FULL DIM before 	brightening. 'B' FIELD = '0' is 'OFF.'

G1 G0 B16B8 B4 B2 B1 B0   3  2   	INCLUDE IN GROUP 'G' on specified HC,DC.  	'B' defines O/P State, 'G' the Group to    	which it applies. Other Group membership 	is not affected. Simultaneous membership 	of up to 4 Groups is allowed. Group

function is not executed until the 	EXECUTE GROUP message is received.

x  x  x  x  x  x  x  x    3  3   	ALL UNITS ON on specified HC.

x  x  x  x  x  x  x  x    3  4   	ALL UNITS OFF on specified HC

0  0  0  0  G3 G2 G1 G0   3  5   	REMOVE FROM GROUP(S) (this 			HC, DC).'G' is bit mapped.

1  1  1  1  G3 G2 G1 G0   3  5   	REMOVE FROM GROUP(S) (this HC)

G1 G0 0  0  x  x  x  x    3  6   	EXECUTE GROUP FUNCTION (this 			HC). GROUP ADDRESS IS ABSOLUTE 		(no GROUP REFERENCE).

DATA			 TYPE CMD

G1 G0 1  1  S3 S2 S1 S0   3  6	EXECUTE GROUP FUNCTION (this  			HC). The GROUP ADDRESS is 			relative to the GRP REFERENCE 			S3S2S1S0.

x  x  0  0  x  x  x  x    3  7   	REQ.OUTPUT STATUS (this HC,DC)  		Req. TO module.

x  x  0  1  x  x  x  x    3  7   	REQ.OUTPUT STATUS (this HC,DC)

Req. FROM Module after Power Up

G1 G0 1  0  0  0  0  0    3  7   	REQ. GROUP STATUS on this HC, DC. 		The GROUP ADDRESS is absolute.

Req. TO Module.

G1 G0 1  1  S3 S2 S1 S0   3  7   	REQ. GROUP STATUS on this HC, DC.

The GROUP ADDRESS is relative 			to the GRP REFERENCE S3S2S1S0

Req. TO module.

A1 A0 B16B8 B4 B2 B1 B0   3  8   	OUTPUT STATUS ACK. (this HC, DC).

A1 = '1' if load connected

(lamp O.K.) A0 = '0' for dimmer, 	        	'1' for appliance.

G1 G0 B16B8 B4 B2 B1 B0   3  9   	GROUP STATUS ACK. (this HC, DC).

GROUP may be absolute or 		relative, depending on the 			request.

x  x  x  x  x  x  x  x    3  A   	GROUP STATUS ACK. Not in the 			Group requested. The DATA 			field returns the value 				contained in the REQUEST 			message.

x  x  x  x  x  x  C1 C0   3  B   	CONFIGURE MODULES (this HC)

C0 = AUTOACK 'EXTENDED' MESS.

C1 = AUTOACK 'STANDARD' MESS.

Automatic ACK for messages

that alter O/P state of unit.

Bit's 2-7 reserved for future use.

LIFESTYLE CODES    	L4 L2 L1

0  0  0  	Wake

0  0  1  	Leave

0  1  0  	Return

0  1  1  	Sleep

1  0  0  	Evening

1  0  1  	Vacation

1  1  0  	Special 1

1  1  1  	Special 2

AMBIENT LIGHT DATA

I2 I1 P32 P16 P8 P4 P2 P1

0  0    D  D  D  D  D  D  Range 0-630 in steps of 10

0  1    D  D  D  D  D  D  Range 0-6300 in steps of 100

1  0    D  D  D  D  D  D  Range 0-63000 in steps of 1000

1  1    D  D  D  D  D  D  Range 0-630000 in steps of 10000

If the Data is divided by two it will approximate to LUX values.

TEMPERATURE DATA

(+/-)T64 T32 T16 T8 T4 T2 T1 	Range 0 - 127 in integer values.

(+/-) = '1' for negative integers.

Units are degrees Celsius.

NOTE : The Ambient Light/Temperature Sensor is capable of reading from -28 to +50 degrees Celsius.

ACCESS PROTOCOL

With Extended Code systems, the amount and nature of the messages that are being used requires that transmitters avoid message collisions where possible, and that when a collision does occur, it can be detected and the conflict resolved. In order to do this, the following access protocol should be adopted. All messages are assumed to have equal priority.

When a transmitter has a message it wishes to transmit, it must wait for access to the powerline for either 8, 9, or 10 half powerline cycles - during which the line must have been continuously clear of data '1' bits. If a '1' bit is detected, it must restart its access timing and wait for another 8, 9, or 10 cycles.

After line access has been achieved, the transmitter must check the line during the transmission of a '0' bit (no carrier) to see that no other transmitter is transmitting. If a collision occurs, the transmitter must abort its transmission immediately and again go though the line access procedure. The choice of 8, 9, or 10 half cycles is chosen randomly for each line access attempt.

NOTES

1. Messages with a TYPE = 0010 are reserved for Security.

XTC797